## Slide 1: ASDF @IETF 110 Hackathon and WoT Plugfest
Extension features for SDF .next
Design Patterns and Examples
Michael Koster
March 1, 2021

## Slide 2: 1.next
ASDF Language and Processing Features
Mapping File formats
SDF Language Extension schemas
Versioning of models

## Slide 3: W3C WoT and SDF/OneDM
Conversion workflow: SDF => Thing Model => Thing Description
  Mapping files, protocol bindings, TD Forms
SDF Processing for external references
  TD Validation of annotations
Semantic Proxy using node-wot
  Multiple proof points

## Slide 4: Modbus Integration Test Case
SDF
MB Bind
MB TM
MB TD
?
node-wot Client
node-wot Application
Modbus Proxy
SDF2TM
Consume
DC Power Supply
RTU
Modbus+TCP
Configuration Time
Modbus RTU
PHY
EM
Code Gen

## Slide 5: EHD Propulsion Experiment "Ionic Wind Tunnel"
DC Power Supply
DC-DC Step-up Conv
Mobile Dielectric
V
F
A
RTU
Uhv
Ihv
Thrust (load cell)
EHD Thruster
Modbus Control
Ref: https://www.researchgate.net/publication/235189622_A_Model_of_an_Ideal_Electrohydrodynamic_Thruster

## Slide 6: Mapping Files, Bindings, and Extension Points
Examples of extension points based on auxiliary schemas
  DataSchema, ProtocolBinding, Hyperlink
Declaration Format - "extensionPoint" in info block
How to identify points in the base schema that the extension point is valid for

## Slide 7: Extension Declaration Format
"extensionPoint": {
"DataSchema" : {
"description": "Additional data schema constraints and mappings",
"sdfRef": "#/sdfExtensionSchema/DataSchema"
},
"ProtocolBinding": {
"description": "Protocol Binding Form compatible with WoT TD Form",
"sdfRef": "#/sdfExtensionSchema/ProtocolBinding"
}
"sdfAction": {
"SetAmperage": {
"sdfInputData":{
"sdfRef": "#/sdfThing/DCPowerSupply_LW3010E/sdfData/AmperageData",
"DataSchema": {
"WidthInBits": 16
}
},
"ProtocolBinding": {
"href": "tcp+modbus://192.168.1.1:502/",
"modv:unitID": 1,
"modv:regID": 1001,
"modv:function": "WriteHoldingRegister"
}

## Slide 8: Semantic Proxy
SDF
OCFMap
OMA Map
OCF TM
OMA TM
OCF TD
OMA TD
OMA MOD
OCF OAS
OCF Conversion
OMA Conversion
SDF2TM
?
node-wot Proxy
OCF Client
OMA Server
SDF2TM
?
Consume
Expose

## Slide 9: Model Construction Workflow
SDF Thing
SDF Object
SDF Object
SDF Object
SDF Object
sdfRef
TD DS & Forms
WoT TM/TD
SDF2TD
Instance Binding

## Slide 10: Data type question

## Slide 11: Mapping File
Mapping file entry format for augmentation and override: json pointer as key and json object containing quality/extension name-value pairs as value
"pg:/#/sdfObject/Voltage": {
"ipso_id": "3316" // adding a mapping quality to a definition
}
"in:/#/sdfThing/DCPS/sdfObject/Voltage/sdfProperty/Sensor_Value": {
"maximum": 30, // customizing a thing instance
"wot-form": { // adding a protocol binding
"op": "readproperty",
"href": "coap://[2001:db8:1::1]/3316/1/5700"
"coapv:content-format": "11544"
}
}

## Slide 12: Processing model for external references
  https://onedm.org/playground/#/sdfObject/Voltage/sdfProperty/Sensor_Value
  Resolver as a library function that can process a directory with SDF files, or as a media type redirect that is part of the onedm.org web service, maybe assisted by an index maintained by the CI tool
  Uses the existing cross reference convention for json pointer resolution and algorithm for all external references
  Resolves to a github location from which the content can be retrieved (a stored file that may contain other content)
  By default, the file contents could be returned and some level of fragment processing would be done by the client.
  We could define an additional behavior that would return only the items in scope of the referenced fragment
  Defined by application/sdf+json

## Slide 13: Actions
Input and Output data, RPC semantics
Input data items are not stateful resources
  Complex input using a collection resource, read-optional
  or
  Map to POST with complex payload, output data could be returned in payload or indirectly through location header
Long running actions may return status or progress
sdfOutputData could carry status and result

## Slide 14: Events
Semantic overlap with sdfProperty
Could we collapse property and event?
Property implies read, write, observe interactions
Could separate read from notify and have rwn
--n would designate notify-only for events and subscribe-able property e.g. MQTT
Some systems have more functionality for Events
  Zigbee CHIP uses Events for notification and logging
  OPC UA Eventing includes logging

## Slide 15: References

## Slide 16: Back up

## Slide 17: Versioning scheme (modification to YANG’s new versioning scheme for OneDM)
1.2.3 model version in ecoX
0.1.0-ecoX-00 initial contribution to PG
0.1.0-ecoX-01
0.2.0-ecoX-02
1.0.0-ecoX-03 Promotor proposes adoption
1.0.0 Adopted version
< New features needed, two alternatives >
1.1.0-ecoX-01 1.1.0-ecoY-01
1.1.0-ecoX-02 1.1.0-ecoY-02
< Merge alternatives >
1.1.0-ecoX-03 Merged proposal
1.1.0-ecoX Promotor proposes adoption
1.1.0 Adopted version
<model version> + <authority> + <OPTIONAL dev version>
Pros:
Can handle multiple dev paths
Rich info in one tag
Cons:
Complex
Overkill?
YANG’s mechanism can’t be copied over without modification due to different stages in process.
Several “error cases” need to be handled

## Slide 18: OLD Model versioning
version (1.0.0, 1.1.0) – semantic versioning
  Major X.y.z => breaking backwards compatibility
  Minor x.Y.z => add new features only
  Patch x.y.Z => patch = change to non-critical text description only
version-tags (odm, playground,dev, oma, ocf) – version metadata for development
  odm => the only tag allowed for adopted models
  Any other tag may be used in the playground to help with development (ie indicate stage in process)
  In sdfinfo block, not ordered
Playground
Updated models use adopted model’s version as base
”New” models start on 0.y.z
Version-tags used as metadata to indicate stage of development
Adopted
Version 1.0.0 when adopted
New versions added sequentially depending on scope (major/minor)”
Principles
Use Semantic versioning and tags
Don’t do properties/feature detection
https://github.com/one-data-model/processes/blob/master/versioning.md
SensorX-from-ecoY
Version: 1.2.3
SensorX
Version: 0.1.0
Version-tags:playground, ecoY, dev
SensorX
Version: 0.1.1
Version-tags:playground, ecoY, candidate
SensorX
Version: 1.0.0
Version-tags:odm
SensorX
Version: 1.0.0
Version-tags:playground, dev
SensorX
Version: 1.1.0
Version-tags:odm
New feature is needed
SensorX
Version: 1.1
Version-tags:playground, candidate
Feature development
Example